Metadata: SASP Winter 2010/2011 Data.xls 

6/28/2011

METADATA

Winter 2010/2011 Dataset

Swamp Angel Study Plot 

Senator Beck Basin Study Area (SBBSA), San Juan Mountains 

I.  Swamp Angel Study Plot (SASP)

1) Site

a) Swamp Angel Study Plot (SASP)

i) RF Station ID = 3

(1) 1 hour data arrays:  Flag field = 301

(2) 3 hour data arrays: Flag field = 303

(3) Solar Noon arrays: Flag field = 312

(4) 24 hour data arrays: Flag field = 324

b) Site unlocked; instruments and tool case locked with keyed padlock

c) Lat/Lon: 37( 54' 25" N, 107( 42' 41" W; per USGS Ironton, Colorado quadrangle 1955, NAD 1927
i) August 2008 GPS survey data: Lat 37( 54' 24.89088”, Lon -107( 42' 40.75924"
d) Elevation: 11,050 feet or 3,368 meters; estimated per USGS Ironton, Colorado quadrangle 1955, NAD 1927
i) August 2008 GPS survey data: 11,059.6 feet or 3371 meters
e) Aspect: NNE

f) Slope Angle: 3 degrees

g) Photographs:  http://www.snowstudies.org/senbeck_sa.html
h) Changes to site: first year of operation; no trees or brush cleared from site; no changes to ground surface

i) Comments: SASP authorized by the Uncompahgre National Forest under a Special Use Permit

2) Operation Status

a) Installation built for continuous collection of 'Winter' and 'Summer' datasets spanning the 'water year' (October 1 through September 30)

i) 'Winter' datasets begin October 1 (start of 'water year') through last day of Spring (day before summer solstice)

ii) 'Summer' datasets extend from Summer Solstice through September 30 (day before start of 'water year' 

b) Winter 2010/2011 dataset from 0000 hrs October 1, 2010 (day-of-year 274) through 2400 hrs June 20, 2011 (day-of-year 171).

i) Season total precipitation counter started at 0 mm H2O on October 1, 2010
ii) Storm #31, from 2300 hrs DOY 130 (May 10) through 1100 hrs DOY 132 (May 12); Noah II precip gauge malfunctioned; storm precipitation data inferred from new snow slab data at SASP and from SASP sonar data (see 5f below).

iii) Primary datalogger malfunction from 0900 DOY 41 (Feb 10, 2011) through DOY 42 (Feb 11, 2011); most data missing during that period; CR10x replaced on Feb 11, 2011 (see 6h below)

c) All data collected on Mountain Standard Time, by day-of-year (DOY)

i) Clocks not switched from/to Mountain Daylight Time in Fall or Spring

ii) 24 hour summary datasets (Flag = 324) are calendar day

3) Type of Site

a) Study Plot: generally 'flat' and planar subalpine site sheltered from wind

4) Power

a) Solar powered by 40 watt photovoltaic panel providing regulated charge to a 400 amp hour gel 12V DC battery bank. 

i) DC supply from datalogger to Noah II regulated at 13.0 volts maximum

5) Sensors

a) Upper Wind Speed and Direction 

i) Properties

(a) Make: RM Young

(b) Model: #05103-5 

(c) Serial Number: WM61653

(d) Type: Wind Monitor

ii) Installation

(a) Height above ground: 6.0 m

(b) Distance from tower or obstacle: 1.0 m

(c) Date originally installed at SASP: October 22, 2004  (DOY 296); 

(d) Service/calibration dates: calibrated June 3, 2004 

(e) Comments: none.  
b) Lower Wind Speed and Direction 

i) Properties

(a) Make: RM Young

(b) Model: #05103-5 

(c) Serial Number: 12387

(d) Type: Wind Monitor

ii) Installation

(a) Height above ground: 3.8 m

(b) Distance from tower or obstacle: 1 m

(c) Date originally installed at SASP: January 29, 2005

(d) Service/calibration dates: originally purchased September 1992; serviced by Campbell Scientific Inc. and verified within specifications November 11, 2004.

(e) Comments: Data recorded on secondary Campbell Scientific CR-10 datalogger (Ser. #14652, recalibrated December 2004), SDI-12 linked to the SASP primary datalogger.  

c) Lower Air Temperature and Humidity

i) Properties

(a) Make: Campbell/Vaisala (CE humiter 50YC)

(b) Model: CS500-U

(c) Serial Number: #P4810054

(d) Type:

ii) Installation

(a) Height above ground: 3.4 m above ground

(b) Distance from tower or obstacle: 1.2 m

(c) Date originally installed at SASP: October 22, 2005 (DOY 296).

(d) Service/calibration dates: refurbished RH chip and serviced July 15, 2004 by Campbell Scientific Inc. 

(e) Comments: none
d) Upper Air Temperature and Humidity

i) Properties

(a) Make: Campbell Scientific

(b) Model: HMP-50YA

(c) Serial Number: A4210022

(d) Type: platinum resistance temp detector (PRT) and capacitive RH sensor

ii) Installation

(a) Height above ground: 5.95 m above ground

(b) Distance from tower or obstacle: 0.15 m

(c) Date originally installed at SASP: February 8, 2006 (DOY39).

(d) Service/calibration dates: new unit when installed

(e) Comments: NSIDC property

e) Snowpack Depth

i) Properties

(a) Make: Campbell Scientific

(b) Model: SR50

(c) Serial Number: C3852
(d) Type: ultrasonic depth sensor

ii) Installation

(a) Height above ground: 3.2 m above ground 

(b) Distance from tower or obstacle: 2.0 m; sensor mounted at end of arm extending south from mast
(c) Date originally installed at SASP: October 22, 2005 

(d) Service/calibration dates: new unit when installed; unit failed February 26, 2005; repaired and returned to service March 23, 2005; new transducer installed by Campbell Scientific in August 2008.
(e) Comments: sensor in operation October 1, 2010; snowpack fully melted underneath sensor at ~1200 hrs June 23, 2011 (DOY 174); data discontinued thereafter.    

f) Precipitation

i) Properties

(a) Make: ETI Instrument Systems

(b) Model: Noah II

(c) Serial Number: #144

(d) Type: 'TBO' simulating gauge

ii) Installation

(a) Height above ground: 4.5 m

(b) Distance from tower or obstacle: free standing 0.30 m diameter standpipe located aprox. 8 m from primary instrument mast, 15 m from nearest (lone) tree

(c) Date originally installed at SASP: October 31, 2003

(d) Service/calibration dates: gauge calibrated and serviced December 2003

(e) Comments: gauge utilizes alcohol antifreeze covered with oil skim and transducer to collect and weigh precipitation in 12" orifice collection chamber; ETI-style vinyl windscreen; gauge automatically cycles (dumps fluid into storage standpipe) and self-charges with fresh antifreeze
(f) Comments: malfunction during Storm #31, from 2300 hrs DOY 130 (May 10) through 1100 hrs DOY 132 (May 12); pine needle jammed drain valve open; repaired shortly after end of precipitation and storm precip data inferred from new snow slab data at SASP and from SASP sonar data.
g) Solar Flux & Albedo Sensors (six total)

i) Properties

(a) Make: all units Kipp & Zonen

(b) Model: CM21 (all five pyranometers) and CG4 (pyrgeometer)

(c) Serial Numbers, by unit/location: 

(i) Up-looking 'broad band' CM21 pyranometer: Ser. #041359

(ii) Up-looking 'NIR to SWIR' CM21-RG695 filtered pyranometer: Ser. #041354

(iii) Up-looking shadowed 'broad band' CM21 pyranometer: Ser. #041360

(iv) Up-looking CG4 pyrgeometer: Ser. #040743

(v) Down-looking 'broad band' CM21 pyranometer: Ser. #041358

(vi) Down-looking 'NIR to SWIR' CM21-RG695 filtered pyranometer: Ser. #041353

(d) Type: spectral response, by types:

(i) 'Broad band' CM21 pyranometer: 305-2800 nm (50% points)

(ii) 'NIR to SWIR' CM21-RG695 pyranometer: 780-2800 nm (50% points)

(iii) CG4 pyrgeometer: 4.5-42 µm (50% points)

ii) Installation

(a) Height above ground: 

(i) Up-looking array: 5.7 m

(ii) Down-looking array: 3.1m above ground 

(b) Distance from tower or obstacle: 

(i) Up-looking array: 0.8 - 1.0 m

(ii) Down-looking array: 1.5 - 1.6 m

(c) Date originally installed at SASP: January 25, 2005 (DOY 25); all sensors

(d) Service/calibration dates: all new units upon installation; all units calibrated by Kipp & Zonen in November 2004; all units intercalibrated September 2005; CG4 pyrgeometer intercalibrated to new CG4 July 2007; all pyranometers recalibrated by AccuFlux per Annex A.3.1 of the ISO-9847 Standard in August 2007; all pyranometers intercalibrated in-situ at top of mast August 10 - September 3, 2009 (DOY 222-246).
(e) Comments: no ventilation units installed.  Up-looking 'shadowed' CM21 pyranometer deployed in Swiss ASRB-style array for aprox. 5 minutes of shadowing at/about solar noon each day.

(f) Comments: Winter/Spring 2010/2011 downlooking pyranometer data valid until ~1500 hrs June 21, 2011 (DOY 172), with snowcover persisting in field of view of downlooking pyranometers until then; downlooking pyranometers viewing ground surface thereafter.

h) Infrared Snow Surface Temperature

i) Properties

(a) Make: AlpuG GmbH

(b) Model: AlpuG SnowSurf

(c) Serial Number: #6004

(d) Type: millivolt output type

ii) Installation

(a) Height above ground: 3.2m

(b) Distance from tower or obstacle: 1.3m

(c) Date originally installed at SASP: May 12, 2006 (DOY 132) 

(d) Service/calibration dates: new unit when installed, calibrated March 30, 2006.

(e) Comments: AlpuG sensors emissivity fixed at 0.98 for snow surfaces, and cannot be reset for soil or plant ground cover (i.e., prior to and after snowcover).  
(f) Values above 0.0 C occurred during periodic exposure of bare ground during early winter. Data valid until ~1500 hrs June 21, 2011 (DOY 172), with snowcover persisting in field of view until then; sensor viewing ground surface thereafter; data discontinued thereafter.
i) Snow Temperature 

i) Properties

(a) Make: Campbell Scientific

(b) Model: #107 (five sensors)

(c) Serial Number: na 

(d) Type: thermistor

ii) Installation

(a) Height above ground: sensor array left at base of snowpack for 2008/2009 season, with the SnoT Lo sensor at the ground surface, the SnoT 2Lo sensor 10 cm above the ground, the SnoT Ctr sensor 20 cm above the ground, the SnoT 2Hi sensor 30 cm above the ground, and the SnoT Hi sensor 40 cm above the ground, not including any downward displacement caused by settlement of the overlying snowcover (unknown).
(b) Distance from tower or obstacle: variable; see above.

(c) Date originally installed at SASP: January 25, 2005 (DOY 25)

(d) Service/calibration dates: sensors not serviceable; all five sensors new upon installation in January 2005; all measurements corrected with small offsets calibrating the sensors to isothermal snow at 0.0 C.
(e) Comments: values above 0.0 C occurred during exposure of sensors to air during early winter, prior to full burial of the array, and during spring snowmelt as array became exposed to air.  Snowpack melted and data discontinued after June 23, 2011 (DOY 174).
j) Barometric Pressure

i) Properties

(a) Make: Vaisala (Campbell Scientific) 

(b) Model: PTB101B (CS105)

(c) Serial Number: B2730009

(d) Type: silicon capacitive pressure sensor

ii) Installation

(a) Height above ground: 3 m

(b) Distance from tower or obstacle: located in datalogger enclosure

(c) Date originally installed at SASP: November 8, 2003

(d) Service/calibration dates: recalibrated August 8, 2006 by Vaisala
(e) Comments: none

k) Soil Heat Flux

i) Properties

(a) Make: REBS (Campbell Scientific) 

(b) Model: HFT-3.1

(c) Serial Number: H043140

(d) Type: thermopile

ii) Installation

(a) Height below ground surface ("A" horizon; no "O" horizon present): 3 cm

(b) Distance from tower or obstacle: aprox. 10 feet

(c) Date originally installed at SASP: July 11, 2005

(d) Service/calibration dates: new unit upon installation; original calibration October 7, 2004

(e) Comments: sensor located at shallow depth to facilitate snowpack/ground heat flux

l) Soil Temperature (four sensors)

i) Properties

(a) Make: Campbell Scientific

(b) Model: #107 

(c) Serial Number: na (none)

(d) Type: thermistor

ii) Installation

(a) Height below ground surface ("A" horizon; no "O" horizon present): at surface, -10 cm, -20 cm, -40 cm

(b) Distance from tower or obstacle: aprox. 10 feet

(c) Date originally installed at SASP: July 11, 2005

(d) Service/calibration dates: new units upon installation; sensors not serviceable;

(e) Comments: 

m) Soil Volumetric Water Content

i) Properties

(a) Make: Campbell Scientific

(b) Model: CS616

(c) Serial Number: na (none)

(d) Type: water content reflectometer

ii) Installation

(a) Height below ground surface ("A" horizon; no "O" horizon present): -10 cm

(b) Distance from tower or obstacle: aprox. 10 feet

(c) Date originally installed at SASP: July 11, 2005

(d) Service/calibration dates: new units upon installation; sensors not serviceable;

(e) Comments: the sensor is horizontally deployed, with both tines at the same level below, and parallel with, the ground surface.  Rocky soils required excavating a trench in which to place the sensor in order to assure a constant distance between the sensor's tines.  A soil block was kept intact, the sensor was placed in the trench and covered with loose soil, then the soil block was replaced over the sensor.

n)   Ground/Snowpack Interface Moisture Content

i) Properties

(a) Make: Campbell Scientific

(b) Model: CS616

(c) Serial Number: na (none)

(d) Type: water content reflectometer

ii) Installation

(a) Installed on top of air conditioner open mesh at ground surface, for drainage

(b) Distance from tower or obstacle: aprox. 10 feet, approximately above soil volumetric water content sensor

(c) Valid data begin October 1, 2009 (DOY 274); sensor was exposed (snow all gone) on May 29, 2010 (DOY 149); data discontinued thereafter. 

(d) Service/calibration dates: new unit upon installation; sensors not serviceable
(e) Comments: the sensor is deployed with both tines horizontal, parallel to the ground surface with cable in aluminum flex conduit.  Only ‘period’ data are reported; the dielectric properties of snow, and wet snow, will require empirical development of a non-linear function to be applied to the ‘period’ measurement in order to calculate the volumetric water content of the bottom of the snowpack with this sensor.   
o) Mid-Snowpack Moisture Content

i) Properties

(a) Make: Campbell Scientific

(b) Model: CS616

(c) Serial Number: na (none)

(d) Type: water content reflectometer

ii) Installation: this sensor discontinued during Winter 2010/2011
6) Primary Datalogger

a) Make: Campbell Scientific

b) Model: CR10X

c) Serial Number: 40363

d) Type: fully programmable measurement and control system with ring memory

e) Acquisition date: September, 2004

f) Date originally installed at SASP: October 22, 2005 (DOY 296)

g) Service/calibration dates: original calibration certificate September 16, 2004; recalibrated by CSI July 2007, with certificate 

h) Comments: malfunction from 0900 DOY 41 (Feb 10, 2011) through DOY 42 (Feb 11, 2011); most data missing during that period; CR10x replaced on Feb 11, 2011.  

7) ‘Slave’ Datalogger

a) Make: Campbell Scientific

b) Model: CR10X

c) Serial Number: X46843 replaced by CR10X #39210 August 2007
d) Type: fully programmable measurement and control system with ring memory

e) Acquisition date: X46843 October, 2006; #39210 August 2007
f) Date originally installed at SASP: X46843 October 22, 2006 (DOY 296); #39210 August 2007
g) Service/calibration dates: X46843original calibration certificate September 16, 2004; #39210 recalibrated August 2007, with certificate 

h) Comments: ‘slave’ datalogger required for input channels for snow moisture sensor and lower wind monitor; connected to primary datalogger using SDI-12 link. 

8) Multiplexer

a) Make: Campbell Scientific

b) Model: AM16/32

c) Serial Number: 6695

d) Type: relay

e) Acquisition date: September, 2004

f) Date originally installed at SASP: October 22, 2004 (DOY 296)

g) Service/calibration dates: new when installed.

h) Comments: housed in own enclosure, with system voltage regulator device.

9) Data Retrieval

a) Radio telemetry using phone-to-RF base station; no repeater utilized

i) Campbell Scientific model RF 310M modem; serial #1973

ii) Model RF310 Maxon SD-125 V2 VHF radio: serial #030604719

iii) Omni type antenna 
10) Software

a) Campbell Scientific LoggerNet 2.1c

b) One SASP Edlog (LoggerNet 2.1c) program (V1) utilized during Winter 1011.
11) Observer Contact Information

a) Name:  Chris Landry - Executive Director

b) Organization:  Center for Snow and Avalanche Studies

c) Address:  PO Box 190, Silverton, CO, USA 81433

d) Telephone:  (970) 387-5080

e) Email:  clandry@snowstudies.org
f) Website: http://www.snowstudies.org/index.html



12) Data processing and output methods (data points as labeled in Excel Spreadsheet):

a) Measurement execution interval:  5 seconds

b) Measurements: see table on following page 

Data processing and output methods (data points as labeled in Excel workbook SASP Winter 1011 Data.xls):

	Spreadsheet Labels 

(some abbreviations expanded)
	Loc'n

#
	LoggerNet 2.1c

Instruction
	Type of

Measurement
	Notes

	Flag
	1
	P80
	na
	301 = 1 hour array

303 = 3 hour array

312 = solar noon array

324 = 24 hour array

	Year
	2
	P77
	Na
	Calendar year 

	Day of Year
	3
	P77
	na
	Sequential day of calendar year

	Time MST
	4
	P77
	na
	Mountain Standard Time at end of array period, in military time; previous day at midnight, 2400 at midnight

	Lo Air C Min

Time Minimum
	5

6
	P74
	Minimize
	Array lower air temperature (C) sensor minimum, time of minimum

	Lo Air C Max

Time Maximum
	7

8
	P73
	Maximize
	Array lower air temperature (C) sensor maximum, time of maximum

	Lo RH
	9
	P70
	Sample
	Lower RH sensor; samples relative humidity (%) once at end of array

	Upper Wind Monitor

Peak Gust MS 

Time Peak Gust

S(calar) Avg Wd MS

U(Result) Avg Wd MS

Avg Wind Dir'n

Std Dev Dir'n
	10

11

12

13

14

15
	P73

P69
	Maximize

Wind vector
	P69 output option '2': scalar mean horizontal wind speed S; resultant mean wind speed U; resultant (direction-weighted) mean wind direction; standard deviation wind direction using Campbell Scientific algorithm.   

	Lower Wind Monitor

Peak Gust MS 

Time Peak Gust

S(calar) Avg Wd MS

U(Result) Avg Wd MS

Avg Wind Dir'n

Std Dev Dir'n
	16

17

18

19

20

21
	P73

P69
	Maximize

Wind vector
	P69 output option '2': scalar mean horizontal wind speed S (ms); resultant mean wind speed U (ms); resultant (direction-weighted) mean wind direction; standard deviation wind direction using Campbell Scientific algorithm. 

	Py Dwn Unf W
	22
	P71
	Average
	Down-looking broadband pyranometer, in average watts/m2  (see Note 2 below)

	Py Dwn Fil W
	23
	P71
	Average
	Down-looking NIR & SWIR filtered pyranometer, in average watts/m2  (See note 2 below)

	Py Up Unf W
	24
	P71
	Average
	Up-looking broadband pyranometer, in average watts/m2  

	Py Up Fil W
	25
	P71
	Average
	Up-looking NIR & SWIR filtered pyranometer, in average watts/m2  

	Py Up Sh W
	26
	P71
	Average
	Up-looking shadowed broadband pyranometer, in average watts/m2  (see Note 3 below)

	Pyrgeom W
	27
	P71
	Average
	Up-looking pyrgeometer, in average watts/m2  

	Sno IR Temp
	28
	P71
	Average
	Average infra-red ground surface and plant temperature (degrees C) 

	SnoT Lo C
	29
	P71
	Average
	Not deployed during summer

	SnoT 2Lo C
	30
	P71
	Average
	Not deployed during summer

	SnoT Ctr C
	31
	P71
	Average
	Not deployed during summer

	SnoT 2Hi C
	32
	P71
	Average
	Not deployed during summer

	SnoT Hi C
	33
	P71
	Average
	Not deployed during summer

	HS M
	34
	P73 

P70
	Maximize

Sample
	Measuring plant height above ground (see Note 1 below)

	Sys Volts
	35
	P70
	Sample
	Voltage at datalogger (prior to regulation) sampled once at end of array 

	Table continued next page

	Array Tot H2O
	36
	P72
	Totalize
	Total mm precipitation during array

	Day Tot H2O
	37
	P70
	Sample
	Running daily total mm of precipitation, 0000 hrs through 2400 hrs

	Season Tot H2O
	38
	P70
	Sample
	Running water year total mm of precipitation, beginning October 1

	Baro In HG
	39
	P71
	Average
	Average barometric pressure, in inches of mercury, sampling the last five minutes of 301 (1 hour) arrays only

	Lo Air C Avg
	40
	P71
	Average
	Averages 17,280 measurements of air temperature collected during a day, from 0000 hrs through 2400 hrs

	Soil Flux W
	41
	P71
	Average
	Average heat flux (watts) entering or exiting soil

	Soil Surf C
	42
	P71
	Average
	Average temperature (C) at soil/air interface (sensor exposed to direct light)

	Soil -10 cm C
	43
	P71
	Average
	Average temperature (C) at 10 cm below ground surface

	Soil -20 cm C
	44
	P71
	Average
	Average temperature (C) at 20 cm below ground surface

	Soil -40 cm C
	45
	P71
	Average
	Average temperature (C) at 40 cm below ground surface

	Soil VWC
	46
	P71
	Average
	Volumetric water content (scale 0.0 to 1.0) of soil at 10 cm below ground surface

	Up Air C Min

Time Minimum
	47

48
	P74
	Minimize
	Upper air temperature (C) sensor array minimum, time of minimum

	Up Air C Max

Time Maximum
	49

50
	P73
	Maximize
	Upper air temperature (C) sensor array maximum, time of maximum

	Up RH
	51
	P70
	Sample
	Upper RH sensor; samples relative humidity (%) once at end of array

	Up Air C Avg
	52
	P71
	Average
	Averages 17,280 measurements of air temperature collected during a day, from 0000 hrs through 2400 hrs

	Ground-Snow Moisture 
	53
	P71
	Average
	‘Period’ measurement of moisture at ground/snowpack interface


Page 8 of 11

