Metadata: SBSP Summer 2010 Data.xls 

10/6/2010

METADATA

Summer 2010 Dataset

Senator Beck Study Plot (SBSP)

Senator Beck Basin Study Area (SBBSA), San Juan Mountains 

I.  Senator Beck Study Plot (SBSP)

1) Site

a) Senator Beck Study Plot (SBSP)

i) RF Station ID = 2

(1) 1 hour data arrays:  Flag field = 201

(2) 3 hour data arrays: Flag field = 203

(3) Solar Noon arrays: Flag field = 212

(4) 24 hour data arrays: Flag field = 224

b) Site unlocked; instruments and tool case locked with keyed padlock

c) Lat/Lon: 37( 54' 25" N, 107( 43' 30" W; estimated per USGS Ironton Quadrangle NAD 1927
i) August 2008 GPS survey data: Lat 37( 54' 24.77918”, Lon -107( 43' 34.55556"
d) Elevation: 12,200 feet, 3,719 meters, estimated per USGS Ironton Quadrangle, NAD 1927
i) August 2008 GPS survey data: 12,185.5 feet or 3,714 meters

e) Aspect: NNE

f) Slope Angle: 3 degrees

g) Photographs: http://www.snowstudies.org/senbeck_sa.html
h) Changes to site: no alterations to tundra site

i) Comments: SBSP authorized by the Uncompahgre National Forest under a Special Use Permit

2) Operation Status

a) Installation built for continuous collection of 'Winter' and 'Summer' datasets spanning the 'water year' (October 1 through September 30)

i) 'Winter' datasets begin October 1 (start of 'water year') through last day of Spring (day before summer solstice)

ii) 'Summer' datasets extend from Summer Solstice through September 30 (last day of 'water year') 

b) Summer 2010 dataset from 0100 hrs June 21, 2010 (day-of-year 172) through 2400 hrs September 30, 2010 (day-of-year 273).
i) Upper Air Temp/RH sensor returned to service and data resume on July 1, 2010 (DOY 182).

c) All data collected on Mountain Standard Time, by day-of-year (DOY)

i) System clocks not switched from/to Mountain Daylight Time in Fall or Spring

ii) 24 hour summary datasets (Flag = 224) are calendar day 

3) Type of Site

a) Study Plot: generally 'flat' and planar alpine basin site, exposed to wind

4) Power

a) Solar powered by 40 watt photovoltaic panel providing regulated charge to a 400 amp hour gel 12V DC battery bank.

5) Sensors

a) Upper Wind Speed and Direction 

i) Properties

(a) Make: RM Young

(b) Model: #05103-5 

(c) Serial Number: WM22659

(d) Type: Wind Monitor

ii) Installation

(a) Height above ground: 9.6 m

(b) Distance from tower or obstacle: 0.6 m

(c) Date installed at SBSP: October 3, 2004
(d) Service/calibration dates: original calibration February 1996; serviced by Campbell Scientific Inc. and verified within specifications July 20, 2004. 

(e) Comments: mounted to arm extending north from mast.

b) Lower Wind Speed and Direction 

i) Properties

(a) Make: RM Young

(b) Model: #05103-5 

(c) Serial Number: WM61998

(d) Type: Wind Monitor

ii) Installation

(a) Height above ground: 4.0 m above ground 

(b) Distance from tower or obstacle: 0.9 m

(c) Date installed at SBSP: October 16, 2004

(d) Service/calibration dates: new instrument when installed, calibrated July 9, 2004.

(e) Comments: mounted to arm extending west from mast 

c) Lower Air Temperature and Humidity

i) Properties

(a) Make: Campbell Scientific
(b) Model: HMP-50YA (replaced Campbell/Vaisala CS500, S#Z184003, on August 14, 2010 (DOY 226); no disruption to data)
(c) Serial Number: TBD 
(d) Type: platinum resistance temp detector (PRT) and capacitive RH sensor
ii) Installation

(a) Height above ground: 3.8 m above ground 

(b) Distance from tower or obstacle: 0.6 m

(c) Date originally installed at SBSP: August 14, 2010
(d) Service/calibration dates: new instrument when installed

(e) Comments: mounted on arm extending east from mast. 

d) Upper Air Temperature and Humidity

i) Properties

(a) Make: Campbell Scientific

(b) Model: HMP-50YA

(c) Serial Number: A4210021

(d) Type: platinum resistance temp detector (PRT) and capacitive RH sensor

ii) Installation

(a) Height above ground: 8.7 m above ground 

(b) Distance from tower or obstacle: 0.2 m

(c) Date originally installed at SBSP: February 6, 2006 (DOY 37)

(d) Service/calibration dates: new instrument when installed; sensor cable repaired June 2010.

(e) Comments: property of NSIDC. 

(f) Comments: this sensor’s cable failed during Winter 2009/2010 and no valid data were collected from June 21, 2010 through June 30, 2010.  The repaired cable and tested sensor was returned to service on July 1, 2010 (DOY 182).   

e) Snowpack Depth

i) Properties

(a) Make: Campbell Scientific

(b) Model: SR50

(c) Serial Number: C3853
(d) Type: ultrasonic depth sensor

ii) Installation (relocated to end of S arm from end of W arm in September 2007)
(a) Height above ground (relocated to end of S arm September 07): 3.54 m above ground 

(b) Distance from tower or obstacle (relocated to end of S arm September 07): 1.6 m

(c) Date installed at SBSP: October 16, 2004 
(d) Service/calibration dates: new unit when installed.

(e) Service/calibration dates: transducer and desiccant replaced, reinstalled and operational September 29, 2007 (DOY 272).

(f) Comments: snowpack disappeared underneath sensor at 1500 hrs June 9, 2010 (DOY 160); data discontinued thereafter.  No summer data presented due to static nature of tundra plant height and to reduce wear and tear on sensor; data resume September 1, 2010 (DOY 244); subsequent data reflect plant height; no measureable snow accumulation through remainder of the month to September 30, 2010 (DOY 273).   

f) Solar Flux & Albedo Sensors (six total)

i) Properties

(a) Make: all units Kipp & Zonen

(b) Model: CM21 (all five pyranometers) and CG4 (pyrgeometer)

(c) Serial Numbers, by unit/location: 

(i) Up-looking 'broad band' CM21 pyranometer: Ser. #041366

(ii) Up-looking 'NIR to SWIR' CM21-RG695 filtered pyranometer: Ser. #041351

(iii) Up-looking shadowed 'broad band' CM21 pyranometer: Ser. #041367

(iv) Up-looking CG4 pyrgeometer: Ser. #040744

(v) Down-looking 'broad band' CM21 pyranometer: Ser. #041365

(vi) Down-looking 'NIR to SWIR' CM21-RG695 filtered pyranometer: Ser. #041352

(d) Type: spectral response, by types:

(i) 'Broad band' CM21 pyranometer: 305-2800 nm (50% points)

(ii) 'NIR to SWIR' CM21-RG695 pyranometer: 780-2800 nm (50% points)

(iii) CG4 pyrgeometer: 4.5-42 µm (50% points)

ii) Installation

(a) Height above ground: 

(i) Up-looking array: 9.4 m

(ii) Down-looking array: 3.55 m 

(b) Distance from tower or obstacle: 

(i) Up-looking array: 0.5 - 0.6 m

(ii) Down-looking array: 1.3 - 1.5 m

(c) Date installed at SBSP: January 19, 2005 (DOY 19); all sensors

(d) Service/calibration dates: all new units upon installation; all units calibrated by Kipp & Zonen in November 2004; all pyranometers intercalibrated in-situ September 2005; all sensors recalibrated by AccuFlux during Summer 2007; all pyranometers intercalibrated in-situ at top of mast August 10 - September 2, 2009.

(e) Comments: no ventilation units installed; up-looking 'shadowed' CM21 pyranometer deployed in Swiss ASRB-style array for 5 minutes of shadowing at/about solar noon each day.

g) Infrared Snow Surface Temperature (no summer data presented)

i) Properties

(a) Make: AlpuG GmbH

(b) Model: SnowSurf IR Thermometer

(c) Serial Number: #4004

(d) Type: millivolt output type

ii) Installation

(a) Height above ground: 3.5 m

(b) Distance from tower or obstacle: mounted on lower pyranometer arm extending south from lower mast; aprox. 1 m from mast

(c) Date originally installed at SBSP: December 12, 2005 (DOY 346)

(d) Service/calibration dates: new equipment, calibrated November 26, 2005.

(e) Comments: AlpuG sensors emissivity fixed at 0.98 for snow surfaces, and not adjustable for soil or plant ground cover.  Consequently, no summer data are shown; sensor removed from mast after snowmelt on June 9, 2010 (DOY 160) to reduce wear and tear and reinstalled in fall; no measureable snow accumulation through September 30, 2010 (DOY 273).

h) Snow Temperature (no summer data presented)

i) Properties

(a) Make: Campbell Scientific

(b) Model: #107 (five sensors)

(c) Serial Number: na 

(d) Type: 

ii) Installation

(a) Height above ground: sensor array stored on mast for summer.

(b) Distance from tower or obstacle: sensor array stored on mast for summer.

(c) Date installed at SBSP: January 20, 2005

(d) Service/calibration dates: sensors not serviceable; all five sensors new upon installation

(e) Comments: sensors stored on mast during summer months; no summer data presented.

i) Soil Heat Flux

i) Properties

(a) Make: REBS (Campbell Scientific) 

(b) Model: HFT-3.1

(c) Serial Number: H043139

(d) Type: thermopile

ii) Installation

(a) Height below ground surface (below "A" horizon; several cm "O" horizon present): 3 cm

(b) Distance from tower or obstacle: aprox. 10 feet

(c) Date installed at SBSP: July 16, 2005

(d) Service/calibration dates: new unit upon installation; original calibration October 7, 2004

(e) Comments: none

j) Soil Temperature (four sensors)

i) Properties

(a) Make: Campbell Scientific

(b) Model: #107 

(c) Serial Number: na (none)

(d) Type: thermistor

ii) Installation

(a) Height below ground surface (below O/A horizon boundary): at O/A horizon boundary , -10 cm, -20 cm, -25 cm

(b) Distance from tower or obstacle: aprox. 10 feet

(c) Date installed at SBSP: July 16, 2005

(d) Service/calibration dates: new units upon installation; sensors not serviceable;

(e) Comments: none

k) Soil Volumetric Water Content

i) Properties

(a) Make: Campbell Scientific

(b) Model: CS616

(c) Serial Number: na (none)

(d) Type: water content reflectometer

ii) Installation

(a) Height below ground surface (below O/A horizon boundary): -10 cm

(b) Distance from tower or obstacle: aprox. 10 feet

(c) Date installed at SBSP: July 16, 2005

(d) Service/calibration dates: new units upon installation; sensors not serviceable;

(e) Comments: the sensor is horizontally deployed, with both tines at the same level below, and parallel with, the ground surface.  Non-rocky soil enabled utilization of Campbell Scientific installation jig resulting in minimal soil disturbance during installation.

6) Primary Datalogger

a) Make: Campbell Scientific

b) Model: CR10X

c) Serial Number: 3884

d) Type: fully programmable measurement and control system with ring memory

e) Acquisition date: September, 2004

f) Date installed at SBSP: October 3, 2005 
g) Service/calibration dates: original calibration certificate July 4, 1996; re-calibrated by Campbell Scientific July 15, 2004 (updated operating system to Rev. 21)

7) ‘Slave’ Datalogger

a) Make: Campbell Scientific

b) Model: CR10X

c) Serial Number: X46843

d) Type: fully programmable measurement and control system with ring memory

e) Acquisition date: October, 2006

f) Date originally installed at SBSP: November 3, 2006 (DOY 307)

g) Service/calibration dates: original calibration certificate October 2006 

h) Comments: ‘slave’ datalogger required for input channels for snow moisture sensors (2); connected to primary datalogger using SDI-12 link. 

8) Multiplexer

a) Make: Campbell Scientific

b) Model: AM16/32

c) Serial Number: 6694

d) Type: relay

e) Acquisition date: September, 2004

f) Date installed at SBSP: October 16, 2004

g) Service/calibration dates: new when installed.

h) Comments: housed in own enclosure.

9) Data Retrieval

a) Radio telemetry using phone-to-RF base station; no repeater utilized

i) Campbell Scientific model RF 310M modem; serial #2224

ii) Model RF310 Maxon SD-125 V2 VHF radio: serial #030604892

iii) Cellwave PS1121-3 dipole antenna 

10) Software

a) Campbell Scientific LoggerNet 2.1c

b) One SBSP Edlog (LoggerNet 2.1c) programming versions (SBSP0910V1) utilized during Summer 10. 

11) Observer Contact Information

a) Name:  Chris Landry - Executive Director

b) Agency:  Center for Snow and Avalanche Studies

c) Address:  PO Box 190, Silverton, CO, USA 81433

d) Telephone:  (970) 387-5080

e) Email:  clandry@snowstudies.org
f) Website: http://www.snowstudies.org/index.html



12) Data processing and output methods (data points as labeled in Excel Spreadsheet):

a) Measurement execution interval:  5 seconds

b) Measurements: see table on following page 

Data processing and output methods (data points as labeled in Excel workbook SBSP Summer 10 Data.xls):

	Spreadsheet Labels 

(some abbreviations expanded)
	Loc'n

#
	LoggerNet 2.1c

Instruction
	Type of

Measurement
	Notes

	Flag
	1
	P80
	na
	201 = 1 hour array

203 = 3 hour array

212 = solar noon array

224 = 24 hour array

	Year
	2
	P77
	Na
	Calendar year 

	Day of Year
	3
	P77
	na
	Sequential day of calendar year

	Time MST
	4
	P77
	na
	Mountain Standard Time at end of array period, in military time; previous day at midnight, 2400 at midnight

	Lo Air C Min

Time Minimum
	5

6
	P74
	Minimize
	Lower air temperature (C) sensor  array minimum, time of minimum

	Lo Air C Max

Time Maximum
	7

8
	P73
	Maximize
	Lower air temperature (C) sensor  array maximum, time of maximum

	Lo RH
	9
	P70
	Sample
	Lower RH sensor; samples relative humidity (%) once at end of array

	Upper Wind Monitor

Peak Gust MS 

Time Peak Gust

S(calar) Avg Wd MS

U(Resultant) Avg Wd MS

Avg Wind Dir'n

Std Dev Dir'n
	10

11

12

13

14

15
	P73

P69
	Maximize

Wind vector
	P69 output option '2': scalar mean horizontal wind speed S; resultant mean wind speed U; resultant (direction-weighted) mean wind direction; standard deviation wind direction using Campbell Scientific algorithm. 

	Lower Wind Monitor

Peak Gust MS 

Time Peak Gust

S(calar) Avg Wd MS

U(Result) Avg Wd MS

Avg Wind Dir'n

Std Dev Dir'n
	16

17

18

19

20

21
	P73

P69
	Maximize

Wind vector
	P69 output option '2': scalar mean horizontal wind speed S (ms); resultant mean wind speed U (ms); resultant (direction-weighted) mean wind direction; standard deviation wind direction using Campbell Scientific algorithm. 

	Py Dwn Unf W
	22
	P71
	Average
	Down-looking broadband pyranometer, in average watts/m2  

	Py Dwn Fil W
	23
	P71
	Average
	Down-looking NIR & SWIR filtered pyranometer, in average watts/m2  

	Py Up Unf W
	24
	P71
	Average
	Up-looking broadband pyranometer, in average watts/m2  

	Py Up Fil W
	25
	P71
	Average
	Up-looking NIR & SWIR filtered pyranometer, in average watts/m2  

	Py Up Sh W
	26
	P71
	Average
	Up-looking shadowed broadband pyranometer, in average watts/m2  

	Pyrgeom W
	27
	P71
	Average
	Up-looking pyrgeometer, in average watts/m2  

	Sno Surf C
	28
	P71
	Average
	No summer data presented

	SnoT Lo C
	29
	P71
	Average
	No summer data presented

	SnoT 2Lo C
	30
	P71
	Average
	No summer data presented

	SnoT Ctr C
	31
	P71
	Average
	No summer data presented

	SnoT 2Hi C
	32
	P71
	Average
	No summer data presented

	SnoT Hi C
	33
	P71
	Average
	No summer data presented

	HS M
	34
	P71
	Average
	No summer data presented

	Sys Volts
	35
	P70
	Sample
	Voltage at datalogger (prior to regulation) sampled once at end of array 



	Table continued next page



	Day Avg Lo Air C
	36
	P71
	Average
	Averages 17,280 measurements of air temperature collected during a day, from 0000 hrs through 2400 hrs

	Soil Flux W
	37
	P71
	Average
	Average heat flux (watts) entering or exiting soil

	Soil Surf C
	38
	P71
	Average
	Average temperature (C) at soil/air interface (sensor exposed to direct light)

	Soil -10 cm C
	39
	P71
	Average
	Average temperature (C) at 10 cm below ground surface

	Soil -20 cm C
	40
	P71
	Average
	Average temperature (C) at 20 cm below ground surface

	Soil -25 cm C
	41
	P71
	Average
	Average temperature (C) at 25 cm below ground surface

	Soil VWC
	42
	P71
	Average
	Volumetric water content (scale 0.0 to 1.0) of soil at 10 cm below ground surface

	Up Air C Min

Time Minimum
	43

44
	P74
	Minimize
	Upper air temperature (C) sensor array minimum, time of minimum

	Up Air C Max

Time Maximum
	45

46
	P73
	Maximize
	Upper air temperature (C) sensor array maximum, time of maximum

	Up RH
	47
	P70
	Sample
	Upper RH sensor; samples relative humidity (%) once at end of array

	Day Avg Up Air C
	48
	P71
	Average
	Averages 17,280 measurements of air temperature collected during a day, from 0000 hrs through 2400 hrs


Page 1 of 9

